## Slide 1: Potter Valley Drought Variance Working Group
Monthly Meeting
Water Management Report
Oct. 30, 2025

## Slide 2
We have a short agenda as follows:
Welcome/Roll Call – Chadwick
Water Management Report- Michelle
Water Temperature Data- Andrew
Discussion/Round Table – All

## Slide 3: Meeting Ground Rules
Meeting Ground Rules
Listen
Listen to and Respect Each Other
Act
Act in Good Faith
Open
Open Discussion by All
Seek
Seek Collaborative Solutions
Silence
Silence Your Cellphone
Identify
Identify Yourself with Name and Org when Commenting
Mute
Please Mute your line if not commenting

## Slide 4: Near-term flow forecast

## Slide 5: Pillsbury Storage Forecasts
EBRR flow and Block water release scenarios

## Slide 6: 2025/26 Storage Forecast: Nov. 1st EBRR increases to 25 cfs; Dec. 1st BW release
Assumptions: EBRR @ 5 cfs until Sept. 30th, then 25 cfs for remainder of variance; Block water release: 2.5 TAF starting Dec. 1st; Post-Oct. 1st, Variance ends >36 TAF
1902’
1897’
1891’
1883’
1875’
1861’
Elevation
12/1: Block water start (2.5 TAF)
Exit variance
8/4: Entered variance
(EBRR @ 5 cfs) and set PVID allotment
Oct. 30:
1,881.2’
26.5 TAF
10/1: Updated elev-cap table
11/1: EBRR increase to 25 cfs

## Slide 7: 2025/26 Storage Forecast: EBRR remains at 5 cfs; Dec. 1st BW release
Assumptions: EBRR @ 5 cfs for remainder of variance; Block water release: 2.5 TAF starting Dec. 1st; Post-Oct. 1st, Variance ends >36 TAF
1902’
1897’
1891’
1883’
1875’
1861’
Elevation
Exit variance
8/4: Entered variance
(EBRR @ 5 cfs) and set PVID allotment
10/1: Updated elev-cap table
12/1: Block water start (2.5 TAF)
Oct. 30:
1,881.2’
26.5 TAF

## Slide 8: 2025/26 Storage Forecast: Nov. 1st EBRR increases to 25 cfs; No BW release
Assumptions: EBRR @ 5 cfs until Sept. 30th, then 25 cfs for remainder of variance; No December Block water release; Post-Oct. 1st, Variance ends >36 TAF
1902’
1897’
1891’
1883’
1875’
1861’
Elevation
Exit variance
8/4: Entered variance
(EBRR @ 5 cfs) and set PVID allotment
11/1: EBRR increase to 25 cfs
10/1: Updated elev-cap table
Oct. 30:
1,881.2’
26.5 TAF

## Slide 9: 2025/26 Storage Forecast: EBRR remains at 5 cfs; No BW release
Assumptions: EBRR @ 5 cfs for remainder of variance; No December Block water release; Post-Oct. 1st, Variance ends >36 TAF
1902’
1897’
1891’
1883’
1875’
1861’
Elevation
Exit variance
8/4: Entered variance
(EBRR @ 5 cfs) and set PVID allotment
10/1: Updated elev-cap table
Oct. 30:
1,881.2’
26.5 TAF

## Slide 10: Scenario Comparison
Block Water?
EBBR after 10/31?
Y
N
Increase to 25 cfs
Remain at 5 cfs

## Slide 11: Aug. 2025 - Storage and Flow (Preliminary Data)
Variance was approved Aug. 4th and was implemented that same day
PVID’s allotment is 3,570 AF for the remainder of the irrigation season. This corresponds to 25 cfs average for Aug. 5th to Oct. 15th.

## Slide 12: Sep. 2025 - Storage and Flow (Preliminary Data)

## Slide 13: Oct. 2025 - Storage and Flow (Preliminary Data)
PVID used approximately 3,134 AF out of their 3,570 AF allotment for the Aug. 5th to Oct. 15th period of the irrigation season. This corresponds to 22 cfs average for the period following variance implementation.
Note: Going into W2026, the Lake Pillsbury elevation-capacity table was updated with 2023 bathymetry.

## Slide 14: Water Temperature Data

## Slide 15
1835
1825
1815
1845
1855
1865
1875
1885
1895
1905
1915
0
2
4
6
8
10
20
22
24
26
28
30
Elevation (ft amsl)
12 14 16 18
Water Temperature (oC)
Lake Pillsbury Water Temperature Profile - 2025
5/16/25
06/12/25
06/25/25
07/09/25
07/23/25
08/07/25
08/19/25
09/02/25
09/19/25
Spill Crest - Closed
Spill Crest - Open Needle Valve Intake

## Slide 16
10
15
20
25
M A Y
J U N
J U L
A U G
S E P
O C T
Temperature, Degrees C
MAX
MEAN MIN
graph_table_2025_Trout and Benmore
Figure 1. Mainstem Eel River water temperatures, 2025, Eel River above Benmore Creek
Recorder ID: Combo 20291807 MWAT [1]: 22.8°C
30

## Slide 17
10
15
20
25
M A Y
J U N
J U L
A U G
S E P
O C T
Temperature, Degrees C
MAX
MEAN MIN
graph_table_2025_Trout and Benmore
Figure 2. Mainstem Eel River water temperatures, 2025, Eel River above Trout Creek
Recorder ID: Combo 20401446 MWAT [1]: 23.6°C
30

## Slide 18
Variance Temp Data 2025_Eel River Diffs between Benmore and Trout Creek
-2
-1
0
1
2
3
4
M A Y
J U N
J U L
A U G
S E P
O C T
Temperature, Degrees C
Max
Min Mean
Figure 3. Difference between Mainstem Eel River daily maximum, mean and minimum water temperatures at Benmore Creek (river mile 166.4) and Trout Creek (river mile 160.8), 2025 WY.
5
Values are the differences between the maximum, minimum, and mean daily water temperatures at Benmore Creek and Trout Creek, reflecting the change in temperatures from Benmore Creek (river mile 166.4) to the temperatures in the Eel River above Trout Creek (river mile 160.8).

## Slide 19: Round Table